## Slide 1: pyvista : a data reduction framework
Jon Holtzman

## Slide 2: Some data reduction background
CCDs came online in a widespread fashion in the 80s, leading to a need for astronomical image processing
Various packages were developed, e.g. IRAF, MIDAS, STARLINK, XVISTA, FIGARO, and probably many others
IRAF became a de facto standard in the US
  IRAF development was formally supported at NOAO
  Many new instruments with specific needs developed IRAF add-on packages, e.g., STSDAS, MOSAIC, etc.
Different packages have different philosophies, e.g., disk vs memory based, primatives vs well-developed canned routines, etc.
IDL developed as a significant platform, originally by astronomers
Computers have continued to evolve
  Support for IRAF by STScI has been discontinued
Modern instruments often consider software as an integral component
Python is the current wave of software
  Astropy consortium is leading development of many routines
Software is still not generally supported financially
APO DAWG : needs and findings

## Slide 3: pyvista
Goals:
  flexible tool that can be used for quick look and basic data reduction across multiple instruments
  Scriptable reduction but also pedagogical: encourage users to look at data
  Fully python
  Take advantage of astropy when it seems reasonable to do so
  Hosted on github, allow cloning and forking
  Documentation on readthedocs
Status
  Very much still in development! Looking for help to refine and implement methodology
  Modules
    tv : a display tool with some built-in features, and enabling interaction with driving program
    imred : routines for basic image reduction
    spectra : routines for basic spectral reduction
    reduce : routine for reduction of a full observing run
    image : some primitives for image analysis
    stars : front-end routines for stellar photometry
    skycalc : front-end routines for observation planning
    simulate : routines for image simulation
The name pyvista

## Slide 4: Astropy NDData and CCDData objects
All frames have data, uncertainty, and mask attributes
a=CCDData(…)
can populate: a.data, a.uncertainty, a.mask
CCDData class has methods for image arithmetic that propagate uncertainties, e.g.
  diff = a.subtract(b)
Convenient for quicklook S/N

## Slide 5: The pyvista TV object
Basic display tool
Asynchronous input
  Allows zooming, panning, etc
  Pixel readout
  Image cross-sections
  Rolling image buffer
Image statistics near cursor : imexam() method
Allows patch display (boxes and circles) on images
Blocking input routines:
  Return location of key stroke and key hit

## Slide 6: The pyvista Reducer object
Basic class to read objects, create calibration frames, do basic reduction
  Overscan subtraction, bias subtraction, dark subtraction, flat fielding
Similar to ccdproc
Allows for convenient image file name access through name templates
  Refer to images by sequence number
Reduction configuration per instrument in configuration file
Allow for calibration directory to use default calibration products for quick look
Supports multiple files per exposures (e.g., DIS)

## Slide 7: Sample configuration file: DIS
--- YAML file format
channels : ['blue','red']
formstr : ['{:04d}b','{:04d}r']
gain : [1.68,1.88]
rn : [4.9,4.6]
crbox : [1,11]
biastype : 0
biasbox :
- [[2050,2096],[0,1023]] # xs, xe, ys, ye
- [[2050,2096],[0,1023]]
trimbox :
- [[0,2047],[0,1023]]
- [[0,2047],[0,1023]]
normbox :
- [[1000,1050],[500,600]]
- [[1000,1050],[500,600]]

## Slide 8: The Reducer object and basic data reduction
reduce() method
  Reads image
  Subtracts overscan using region and method specified in configuration
  Calculates noise
  Applied reduction steps as specified
    Cosmic ray rejection
    bias frame subtraction
    dark subtraction
    scattered light (multi-order spectrograph)
    flat fielding
    Bad pixel correction

## Slide 9: Demo

## Slide 10: Spectroscopic data reduction
The pyvista Tracer object
  Used to determine the location of a point source in the slit as a function of wavelength
  Used to extract spectra
    1D extraction
    2D extraction
  Supports multiple windows on chip
  Saves trace location and image cross-section
    Transfer to other frames by cross-correlation of cross-section
The pyvista Wavecal object
  Used to determine and apply wavelength calibration
  Supports
    1D wavelength calibration
    2D wavelength calibration
    Multi-order wavelength calibration
    Multiple windows on chip
  Saves spectrum, wavelength solution, and lines used
    Transfer to other frames by cross-correlation of wavelength calibration spectra

## Slide 11: Scripted data reduction: the reduce module
Performs all reduction steps given input configuration file
  Creates calibration frames
  Applies calibration to data frames
Allows for multiple blocks, e.g., for different instruments
Allows for image display and interaction if desired, or batch mode

## Slide 12: Demo

## Slide 13: Improvement and implementation : reduction
Reduction
  Overscan subtraction options
  Web output
Spectra
  Flux calibration / echelle order combination
  Sky subtraction
  Optimal extraction
  Spectral rectification, including differential refraction
  Telluric absorption correction
  Wavelength/flexure correction using tellurics (absorption or emission)
Imaging
  Image rectification?
  Image astrometry
  IR dither combination

## Slide 14: Improvement and implementation: analysis
Photometry
  Ensemble photometry
  Multi-frame PSF photometry
  Surface photometry
Spectra
  Line profile fitting
  Radial velocities
  Stellar parameter determination?